| Description: | Anti-Virus Certificate |  |  | Nova Measuring Instruments Ltd. 5 David Fikes St., P.O. Box 266 Rehovot 7610201, Israel Tel: 972-8-9387505 Fax: 972-8-9407776 |  |
| --- | --- | --- | --- | --- | --- |
|  |  |  |  | ECO: NR200334 |  |
| Approvals |  |  |  |  |  |
| Discipline |  | Name | Signature | Date |  |
| Responsible Eng. |  | Snir - H | S.O.F | April 2020 |  |
| Integration Team Leader |  | Evgeny - D | S.O.F | April 2020 |  |

| Inspection Date | 05/04/2026 |  |
| --- | --- | --- |
| Costumer PO | 257086 |  |
| Nova SO | 260389 |  |
| Serial Number | 165399 |  |
| Product Part Number | 100-04000-80 |  |
| Product Name | Hub |  |
| Customer | Nova |  |
| Device 1 |  |  |
| Computer name | {{Device1_ComputerName}} |
| MAC address (Internal LAN) | {{Device1_MAC_Internal}} |
| MAC address (External LAN) | {{Device1_MAC_External}} |
| Operation system version | {{Device1_OS}} |
| Antivirus final version: McAfee: Kaspersky: KK: KES: | version: 13.0.0.571 version: 20.0.14.0 version: 3.4.15 version: 12.4.0.467 |
| Device 2 |  |  |
| Computer name | {{Device1_ComputerName}} |
| MAC address (Internal LAN) |  |
| Operation system version | {{Device1_OS}} |
| Antivirus final version: McAfee: Kaspersky: KK: KES: | version: 13.0.0.571 version: 20.0.14.0 version: 3.4.15 version: 12.4.0.467 |
| Device 3 |  |  |
| Computer name | {{Device1_ComputerName}} |
| MAC address (Internal LAN) |  |
| Operation system version | {{Device1_OS}} |
| Antivirus final version: McAfee: Kaspersky: KK: KES: | version: 13.0.0.571 version: 20.0.14.0 version: 3.4.15 version: 12.4.0.467 |
| Device 4 |  |  |
| Computer name | {{Device1_ComputerName}} |
| MAC address (Internal LAN) | {{Device1_ComputerName}} |
| MAC address (External LAN) | {{Device1_ComputerName}} |
| Operation system version | {{Device1_ComputerName}} |
| Antivirus final version: McAfee: Kaspersky: KK: KES: | version: 13.0.0.571 version: 20.0.14.0 version: 3.4.15 version: 12.4.0.467 |
| Device 5 |  |  |
| Computer name | {{Device1_ComputerName}} |
| MAC address (Internal LAN) | {{Device1_ComputerName}} |
| MAC address (External LAN) | {{Device1_ComputerName}} |
| Operation system version | {{Device1_ComputerName}} |
| Antivirus final version: McAfee: Kaspersky: KK: KES: | version: 13.0.0.571 version: 20.0.14.0 version: 3.4.15 version: 12.4.0.467 |
| Device 6 |  |  |
| Computer name | {{Device1_ComputerName}} |
| MAC address (Internal LAN) | {{Device1_ComputerName}} |
| MAC address (External LAN) | {{Device1_ComputerName}} |
| Operation system version | {{Device1_ComputerName}} |
| Antivirus final version: McAfee: Kaspersky: KK: KES: | version: 13.0.0.571 version: 20.0.14.0 version: 3.4.15 version: 12.4.0.467 |
| Device 7 |  |  |
| Computer name | {{Device1_ComputerName}} |
| MAC address (Internal LAN) | {{Device1_ComputerName}} |
| MAC address (External LAN) | {{Device1_ComputerName}} |
| Operation system version | {{Device1_ComputerName}} |
| Antivirus final version: McAfee: Kaspersky: KK: KES: | version: 13.0.0.571 version: 20.0.14.0 version: 3.4.15 version: 12.4.0.467 |

| Inspector Name: |  |  |
| --- | --- | --- |
| Company Shop: | Stamp |  |
|  | Date |  |
|  | Authorized representative signature |  |
|  | Print name |  |
|  | Title | PS |

| Device 1 |  |
| --- | --- |
| System Information |  |

| Device 2 |  |
| --- | --- |
| System Information |  |

| Device 3 |  |
| --- | --- |
| System Information |  |

| Device 4 |  |
| --- | --- |
| System Information |  |

| Device 5 |  |
| --- | --- |
| System Information |  |

| Device 6 |  |
| --- | --- |
| System Information |  |

| Device 7 |  |
| --- | --- |
| System Information |  |

| Storage & I/O device declaration form |  |  |
| --- | --- | --- |
| Number of PC’s: |  | 7 |
| PC | Types of Storage and I/O device | Quantity |
| Pc1: R260 | Number of CD/DVD | 0 |
|  | Number of CD RW/DVD RW: | 0 |
|  | Number of USB’s: | 0 |
|  | Number of hard drives: | 1 |
| Pc2: R470 | Number of CD/DVD: | 0 |
|  | Number of CD RW/DVD RW: | 0 |
|  | Number of USB’s: | 1 |
|  | Number of hard drives: | 2 |
| Pc3: R470 | Number of CD/DVD: | 0 |
|  | Number of CD RW/DVD RW: | 0 |
|  | Number of USB’s: | 1 |
|  | Number of hard drives: | 2 |
| Pc4: VM | Number of CD/DVD: | 0 |
|  | Number of CD RW/DVD RW: | 0 |
|  | Number of USB’s: | 0 |
|  | Number of hard drives: | 0 |
| Pc5: VM | Number of CD/DVD: | 0 |
|  | Number of CD RW/DVD RW: | 0 |
|  | Number of USB’s: | 0 |
|  | Number of hard drives: | 0 |
| Pc6: VM | Number of CD/DVD: | 0 |
|  | Number of CD RW/DVD RW: | 0 |
|  | Number of USB’s: | 0 |
|  | Number of hard drives: | 0 |
| Pc7: VM | Number of CD/DVD: | 0 |
|  | Number of CD RW/DVD RW: | 0 |
|  | Number of USB’s: | 0 |
|  | Number of hard drives: | 0 |
| Additional information |  |  |
| Device | Direct link to FUB | Latest KB installed |
| Pc1: R260 | N | KB5043113 |
| Pc2: R470 | N | KB5068786 |
| Pc3: R470 | N | KB5068786 |
| Pc4: VM | N | KB5068786 |
| Pc5: VM | N | KB5068786 |
| Pc6: VM | N | KB5068786 |
| Pc7: VM | N | KB5068786 |